| Date: |  |
| --- | --- |
| Name: |  |
| Company: |  |
| Tel: |  |
| Fax: |  |
| email: |  |

Medical Device Failure Questionnaire

To help us identify the cause of failure and the associated risk, please complete the following information for the Medical Oxygen Sensor(s) and Instrument(s) [collectively called Medical Devices] being returned for evaluation and replacement (if still under warranty).

It is assumed that the compatibility of our Device(s) with your application was addressed during your Medical Device acquisition process.  Using the Device(s)  in applications beyond the specification limits will render the warranty to be voided.

Should the returned Sensor(s) be deemed misapplied during our evaluation, such sensor(s) will be considered out-of-warranty sensor(s) and will not be replaced.  In the interest of minimizing transportation of sensor(s) with chemicals, the failed and out-of-warranty sensors will not be returned unless requested otherwise by you. Any replacement sensor(s) will be sent pursuant to our completion of the failure evaluation.

- Complete the questionnaire form.

- Fax to (626) 961-2538 or email to tai_rma@teledyne.com.

- An RMA number and packing slip will be generated and confirmation sent email or Fax.

- Ship failed device(s) along with the packing slip back to the factory:  :

Teledyne Instruments-Analytical Instruments

16830 Chestnut Street

City of Industry, CA 91748

Attn:  RMA #

| Sensor Class: | x | Instrument Model Number |  |
| --- | --- | --- | --- |
| Sensor Serial Number(s): | x | Instrument Serial Number(s): |  |
| Describe the failure symptoms and behavior noticed to conclude the Device(s) is(are) bad: |
| Sample Gas Components, %: |
| Operating O2 Concentration (%): | Approx Hrs at Operating Concentration: |
| Operating Temperature: | Operating Pressure: |
| Point of Failure: | During Calibration |  | While in Use |  |  |  |
| If our sensor(s) is(are) used with a Device manufactured by other manufacturers… |
| Make and Model Number of the Device our sensor(s) are used with: |  |
| Comments |  |