[image: image1.png]”‘ TELEDYNE
INSTRUMENTS

Analytical Instruments
A Teledyne Technologies Company



                                                                                

[image: image2.jpg]@n

TELEDYNE
ANALYTICAL INSTRUMENTS

Everywhereyoulook”

Teledyne Instruments, Inc.

16830 Chestnut Street

City of Industry, California 91748-1020
Phone: 626.934.1500 Fax: 626.961.2538

www.teledyne-ai.com



                                                                                 

	Date:
	

	Name:
	

	Company:
	

	Tel:
	

	Fax:
	

	email:
	


INDUSTRIAL SENSOR FAILURE QUESTIONNAIRE

To help us identify the cause of failure and the associated risk, please complete the following information for the Industrial Oxygen Sensor(s) being returned for evaluation and replacement.

It is assumed that the compatibility of our oxygen sensor(s) with your application was addressed during your sensor acquisition process.  Using the sensor(s)  in applications beyond sensor specifications will render the warranty to be voided.  Should the returned sensor(s) be deemed misapplied during our evaluation, such sensor(s) will be considered out-of-warranty sensor(s) and will not be replaced.  In the interest of minimizing transportation of sensor(s) with chemicals, failed and out-of-warranty sensors will not be returned unless requested otherwise by you.  Any replacement sensor(s) will be sent pursuant to our completion of the failure evaluation.
1) Complete form.

2) Fax to (626) 961-2538 or email to tai_rma@teledyne.com.
3)   Ship failed cell(s) back to the factory:  
Teledyne Instruments

16830 Chestnut Street

City of Industry, CA 91748
Attn:  RMA #
	Sensor Class:
	
	Serial Number(s):
	

	Describe the failure symptoms and behavior noticed to conclude the cell is bad:

	

	

	

	

	O2 Concentration (ppm/%):  
	Normal?
	
	Minimum?
	
	Maximum?
	

	What is the background gas?
	
	 
	

	Is there any CO2 present?  If yes, how much?
	 
	 

	Any oxidizing agents ? 

(for example Cl2, F2, NO2 etc)
	
	Levels?
	

	Any Sulfur gases? 

(for example H2S, SO2, etc)
	
	Levels?
	

	Possibility of Condensation?
	Yes or No?
	
	If Yes, what?
	

	How soon after installation was the failure behavior noticed?
	 

	Have sample gas lines to and in the analyzer been leak 
checked by changing the flow or other method?
	 

	Was the o-ring in the analyzer (where the cell in installed) checked and confirmed that it isn't old or misseated?
	 

	What is the ambient temperature?
	 
	 Temperature variations?
	

	What is the sample temperature?
	 
	 Temperature variations?
	

	What is the sample pressure?
	 
	  Pressure variations?
	

	What is the analyzer's model?
	 
	  Model Serial No.?
	


  Comments:  


